| Allocated/Responsible Manager Name and Signature: |  |  |
| --- | --- | --- |

| Contract name: |  | Contract number: |  |
| --- | --- | --- | --- |

| Start Version Date: |  | Duration: |  |
| --- | --- | --- | --- |

When undertaking planned or responsive property work such as; roofing, plumbing, building, refurbishment etc. ALL trade persons have legal responsibilities and obligations to be observant and ensure their work does not affect the safety of gas, oil and solid fuel appliances/installations. This starts with the ‘Responsible Person’ for the project who should complete this form and retain a copy.

Scope of Works:

| Requirement | Record Yes/No | Guidance |
| --- | --- | --- |
| Property Register Available? |  | For multiple property projects a list of properties identifying all gas/oil/solid fuel appliances and gas/oil pipework should be collated |
| Is the work likely to affect the safety of existing gas, oil or solid fuel appliance(s), pipework or tank/meter installation? |  | If answering YES a Pre-Works Technical Survey must be carried out by a Gas Safe, HETAS or OFTEC registered engineer. |
| Is the work likely to affect the safety of an existing Chimney/Flue, Horizontal or Vertical Flue Termination/outlet or Ventilation system? |  | If answering YES a Pre-Works Technical Survey must be carried out by a Gas Safe, HETAS or OFTEC registered engineer. |
| Asbestos Register Available? |  | Any intrusive works on properties built prior to 2000 shall have an Asbestos Survey and Asbestos information shall be shared with employees including sub-contractors. |
| Do you require a Permit to Work process? Indicate YES or NO? |  | In certain work activities, a Permit to Work may be required to suitably control any risks. |

| Has a Pre-Works Technical Survey by a competent registered engineer been arranged? | Record YES or NO |
| --- | --- |

| Record the trading title and where applicable registration number e.g. Gas Safe registration of the business employed to undertake the Technical Survey |  |  |  |
| --- | --- | --- | --- |
| Business Name: |  | Registration Number: |  |

Record further Significant Actions or Control Measures below. Note: The below examples are not an exhaustive list

e.g. Scaffolding Erection = Correct distances from termination; Boarding = Measures taken to prevent damage to flue/chimney terminals etc; Wrapping = Measures taken to prevent flue outlets terminating into an enclosed area preventing any risks associated with the Products of Combustion.