| This form must be completed by a suitably competent registered GAS SAFE, HETAS or OFTEC Engineer dependent upon the fuel type of the appliances/installation affected. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contract No: |  |  |  |  | Property Address Below: |  |  |  |  |  |  |  |  |  |  |
| Contract Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Engineer Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Licence No: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Registration No: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Engineer Signature: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Business Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SURVEY TO INCLUDE ALL FUELLED APPLIANCES WITHIN THE PROPERTY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gas, Oil and Solid Fuel Appliances that could be disturbed or damaged by the work shall be disconnected & labelled ‘Danger Do Not Use’. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Flues, Chimneys and Ventilation systems are critical to the safety of Gas, Oil and Solid Fuel Appliances; if these are likely to be disturbed or damaged the appliance utilising these systems shall be disconnected & labelled ‘Danger Do Not Use.’ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If Gas Pipework could be affected or disturbed during the work the supply shall be disconnected at the Gas Meter and the installation labelled ‘Danger Do Not Use.’ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Any additional control measures for maintaining safety will be identified on this form. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Appliance 1 |  |  |  | Appliance 2 |  |  |  | Appliance 3 |  |  | Appliance 4 |  |  |
| Appliance type: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Make / Model: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| K/W Rating: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Ventilation satisfactory? Indicate YES or NO: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Indicate Fuel Type (Gas/LPG) (Oil) (Solid Fuel): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Appliance Serial number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Flue type – (OF/RS/FL) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is proposed work within 1 meter of the appliance? Indicate YES or NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Could the safety of the appliance be compromised by work? Indicate YES or NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is the appliance disconnected & labelled ‘Danger Do Not Use’? Indicate YES or NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is the appliance left operational and safe to use during the property work program? Indicate YES or NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| VENTILATION & CHIMNEY/FLUE RISKS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is the ventilation likely to be disturbed or altered during the work? Indicate Yes or No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is the flue terminal likely to be damaged, disturbed or obstructed during the work? Indicate Yes or No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Are the products of combustion likely to be affected or become a hazard during the work? Indicate Yes or No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is the Flue/Chimney System likely to be disturbed or damaged during the work? Indicate Yes or No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If you have answered Yes to the above questions the affected appliance / installation shall be disconnected and labelled ‘Danger Do Not Use’. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If proposed work is within 1 meter of the flue/chimney/flue terminal has a Risk Assessment been completed and SSoW produced? Indicate Yes or No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Have the associated appliances utilising the affected flue/chimney system been disconnected? Indicate Yes or No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| INSTALLATIONS LEFT OPERATIONAL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If existing Flues/Chimneys/Appliances are left operational it is best practice to label these to ensure other trades are aware and to prevent damage or disturbance during the property work. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Where applicable have any Flues/Chimneys/Appliances left operational been identified and labelled? Indicate Yes or NO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| GAS/OIL PIPEWORK AND METER/TANK INSTALLATION RISKS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Is the gas/oil pipework or Gas Meter, Oil Storage Tank installation likely to be damaged or disturbed during the work? Indicate YES or NO |  |  |  |  |  |  |  | Confirm the gas/oil Supply is disconnected at the Meter/Tank & a ‘Danger Do Not Use’ label is attached? Indicate YES or NO |  |  |  |  |  |  |  |
| Include any additional control measures to be implemented during the project below: E.g. Repositioning an appliance/pipework etc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Warning Notice Issued? Indicate YES or NO |  |  |  |  |  |  | Warning Notice Serial Number: |  |  |  |  |  |  |  |  |
| Where installations have been disconnected these must be recommissioned by a competent engineer such as a Gas Safe registered engineer at the completion of the property work. In all cases the competent registered engineer shall undertake a tightness/soundness test and issue a Safety Inspection Certificate for all affected Meter/Tanks, Pipework, Appliances, Chimney/Flues & Ventilation. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Further Controls |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Does the project require a Permit to Work? (Circle as appropriate) |  |  |  |  |  |  |  |  | YES |  |  | NO |  |  |  |
| List any additional control measures to be taken below: Note: The below examples are not an exhaustive list |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| e.g. Scaffolding Erection = Correct distances from termination; Boarding = Measures taken to prevent damage to flue/chimney terminals etc; Wrapping = Measures taken to prevent flue outlets terminating into an enclosed area preventing any risks associated with the Products of Combustion. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |